Condensed Computer Procedures:

- Open PC 2000 on the desktop.

- Show a login animation that automatically accepts all alerts

- Click Evacuate

- “Load Wafer or pump chamber MJC” window pops up. Click Cancel.